|  | BENTON CLEAN AIR AGENCY |
| --- | --- |

NOTICE OF CONSTRUCTION AND APPLICATION FOR APPROVAL

FOR INSTALLATION / MODIFICATION OF AN AIR POLLUTION SOURCE

| Boiler and Heating Unit | For Agency Use Only Fee Recd: NOC #: |
| --- | --- |

1. General Information

| Owner / Operator: Business Name: Business Address Contact Person: Phone: Fax: E-mail: | Applicant Name: Applicant Address Contact Person: Phone: Fax: E-mail: |
| --- | --- |

2. Installation Information

| Installer Company Name: Installation Address Contact Person: Phone: Fax: | Installer Address Contact Person: Phone: Fax: E-mail: |
| --- | --- |
| Type of business: ( New ( Existing Facility registered with BCAA? ( Yes ( No | Nature of business: Estimated completion date: |

3. Boiler/Heating Unit being Installed or Modified

| Description of Boiler(s) or Heating unit(s): (make, model number etc) |
| --- |
| Description of Burner(s): (make, model number etc) |
| Number of units being installed/modified: | Status of Unit: ( New ( Used ( Existing |
| Fuel(s) burned: | Rated Capacity of unit: MMBTU |
| Maximum Fuel Rate: | Type of boiler: ( Fire tube ( Water tube |

| Manufacturer's guaranteed emission rate @ 3% O2 |
| --- |
| CO (ppmv) | NOx (ppmv) | SOx (ppmv) | HC (ppmv) | PM10 (lbs/MMBtu) | PM2.5 (lbs/MMBtu) |
| Will NOx controls be installed? ( Yes ( No If Yes, which type of control is installed? ( Low NOx burners ( Flue gas recirculation ( Staged gas combustion ( Other Is unit equipped with low excess air (O2) meter? ( Yes ( No |

4. Boiler/Heater Unit Exhaust Stack Information

| Stack ground height (ft) | Flow Rate (scfm) | Exit Temperature (°F) | Internal Stack Diam. (ft) |
| --- | --- | --- | --- |
| How does the exhaust exit the stack? ( Vertical ( Horizontal ( Other |
| Will a stack cap or rain guard be installed? ( Yes ( No (if yes, submit a design drawing) |

5. Operation Information for Boiler/Heater Unit

| Daily Operating Hours from _________ to _________ | Days of Operation (Su (M (T (W (Th (F (Sa | Weeks of Operation (per year) |
| --- | --- | --- |

6. Modeling Information

Distance from stack to nearest property line (ft)

Describe any dispersion modeling that has been done for this stack. Attach report or modeling results.

7. Other Information

Plot plan showing the entire facility, buildings within 200 ft of proposed installation/modification, including cross streets, property lines, and location of the proposed unit. (REQUIRED) Flow diagram of the process (REQUIRED) Environmental Checklist (SEPA) or DNS (REQUIRED) SEPA Date or DNS Date Agency issuing Environmental Determination Any emissions information, including particulate, NOx, SO2, CO, VOCs, lead, or toxics. (IF AVAILABLE) Note: if no emissions information is available, a combustion analysis and/or a source test may be required. Manufacturer and/or vendor information on process and air pollution control equipment being installed or modified (IF AVAILABLE)

8. Owner, Operator, or Responsible Agent Signature

I hereby certify that the information contained in this application, including any attached supplemental information, is to the best of my knowledge complete and correct. Signature Date Printed Name Phone Number